## Input
Hotel Guest Room Energy Management System (EMS) Incentive Worksheet Effective July 1, 2023 to June 30, 2024. (WKS_C_HVAC_EMS_PY23_1ELS) Hawai‘i Energy's mission is to empower island families and businesses to make smart energy choices that reduce energy consumption, save money and pursue a 100% clean energy future.
Account Name: |  | Project Name:
Hotel Size
Application #: |  | Hotel Capacity: | ≥ 100 guest rooms
< 100 guest rooms
EMS Brand | Model Number | Quantity of Unit Controlled
| Total Incentive per Room: | 200
| Total Incentive Requested: | 0
Total Project Cost:
% of Total Project Cost:
Program Qualifications
• All entry and lanai doors must have door switches or other technologies that will de-energize the fan coil unit (FCU) when the door remains open.
• All main rooms must have occupancy sensors that will de-energize the FCU when no movement is detected for a specified period of time. This period of time must be set to 15 minutes or less.
• Thermostat controls must be preset.
• Applicant must be on a Commercial Rate Schedule (reference utility bill).
• System must be demand-response enabled: Controls are networked with a global command feature that can control all points, e.g. zone temperature set point, and can respond to demand response signals.